## Mandatory GB-1 Checklist
Project Address: CALIFORNIA GREEN BUILDING CODE 2013 - MANDATORY PATH CHECKLIST
[6 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [13 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [7 empty] | SCHEDULE A GREEN BUILDING INCREMENTAL VERIFICATION (IVR#152) DURING ROUGH INSPECTION
[7 empty] | Plan Check |  | Rough GB Inspection IVR # 112 |  | Final Inspection IVR # 974 | [10 empty] | Plan Check |  | Rough GB Inspection IVR # 112 |  | Final Inspection IVR # 974
[11 empty] | Part 1 | Part 1 | Part 2 | Part 2 | [11 empty] | Part 1 | Part 1 | Part 2 | Part 2
5.1 Planning and Design |  |  | Code Section | Y | N |  | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | 5.5 Environmental Quality |  |  | Code Section | Y | N |  | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL
1 | Mandatory | Storm water pollution prevention | 5.106.1 |  |  |  | □ | [7 empty] | 57 | Mandatory | Fireplaces | 5.503.1 |  |  |  | □ |  |  |  | □ |  | □ |  | Schedule a Green Building Incremental Verification (IVR#152) if any of the following CALGreen provisions or PAMC Sections are marked with an "X" under the "Y" column of this sheet.
2 | Mandatory | Local storm water pollution prevention | PAMC 16.14.290/ 5.106.1.1 | [11 empty] | 58 | Mandatory | Temporary ventilation (MERV 8) | 5.504.1.3 |  |  |  | □ |  | □ |  | □
3 | Mandatory | Best management practices | 5.106.1.2 | [11 empty] | 59 | Mandatory | Covering of duct openings and protection of mechanical equipment during construction | 5.504.3 |  |  |  | □ |  | □ |  | □ | [12 empty] | 2016 CALIFORNIA GREEN BUILDING CODE- MANDATORY CHECKLIST
4 | Mandatory | Bicycle parking | PAMC 18.54.060/ 5.106.4 | [11 empty] | 60 | Mandatory | Adhesives, sealants and caulks: Comply with VOC limits (Table 5.504.4.1 and 5.504.4.2) | 5.504.4.1 |  |  |  | □ |  |  |  | □
5 | Mandatory | Short term bicycle parking | 5.106.4.1.1 |  |  |  | □ |  |  |  | □ |  | □ |  | 61 | Mandatory | Paints and Coatings: Comply with VOC Limits (Table 5.504.4.3) | 5.504.4.3 |  |  |  | □ | [7 empty] | - | CALGreen 5.303.1.1 Separate Meters
6 | Mandatory | Long term bicycle parking | 5.106.4.1.2 |  |  |  | □ |  |  |  | □ |  | □ |  | 62 | Mandatory | Carpet systems: Carpet cushion | 5.504.4.4.1 |  |  |  | □ | [7 empty] | - | CALGreen 5.303.1.2 Separate Meters
7 | Mandatory | (Bicycle) Parking stall markings | 5.106.5.2.1 | [11 empty] | 63 | Mandatory | Carpet systems: Carpet adhesive | 5.504.4.4.2 |  |  |  | □ | [7 empty] | - | PAMC 16.14.190 Recycled Water Interior Infrastructure
8 | Mandatory | Designated parking for clean air vehicles | 5.106.5.2 |  |  |  | □ |  |  |  | □ |  | □ |  | 64 | Mandatory | Composite wood products: Formaldehyde limits (Table 5.504.4.5) | 5.504.4.5 |  |  |  | □ |  |  |  | □ |  |  |  | - | PAMC 16.14.230 Recycled Water for Irrigation
9 | Mandatory | Electric vehicle charging for non-residential structures [N]- New Construction | PAMC 16.14.430/ A5.106.5.3 |  |  |  | □ |  |  |  | □ |  | □ |  | 65 | Mandatory | Composite wood products: Documentation | 5.504.4.5.3 |  |  |  | □ |  |  |  | □ |  |  |  | - | CALGreen 5.504.1.3 Temporary Ventilation
10 | Mandatory | Grading and paving (exception for additions and alterations not altering the drainage path) | 5.106.10 |  |  |  | □ |  |  |  | □ |  |  |  | 66 | Mandatory | Filters: Labeling (MERV 8) | 5.504.5.3 |  |  |  | □ |  |  |  | □ |  |  |  | - | CALGreen 5.504.3 Duct & HVAC Protection
5.3 Water Efficiency and Conservation | [14 empty] | 67 | Mandatory | Environmental tobacco smoke (ETS) control | 5.504.7 |  |  |  | □ |  |  |  | □ |  |  |  | - | CALGreen A5.504.1 IAQ During Construction
11 | Mandatory | Meters | 5.303.1 |  |  |  | □ |  |  |  | □ |  |  |  | 68 | Mandatory | Outside air delivery (For Indoor Air Quality) | 5.506.1 |  |  |  | □ |  |  |  | □
12 | Mandatory | Excess consumption (Submeters for additions that consume over 1,000 gal/ day) | 5.303.1.2 |  |  |  | □ |  | □ | [5 empty] | 69 | Mandatory | Carbon dioxide (CO2) monitoring (For Indoor Air Quality) | 5.506.2 |  |  |  | □ |  |  |  | □ |  |  |  | SECTION TO BE COMPLETED AFTER CONSTRUCTION
13 | Mandatory | Indoor Water Use: Water closets (shall not exceed 1.28 gallons per flush) | 5.303.3.1 |  |  |  | □ |  |  |  | □ |  | □ |  | 70 | Mandatory | Acoustical control (STC Values per ASTM E90 and ASTM E413) | 5.507.4 |  |  |  | □ |  |  |  | □ |  | □
14 | Mandatory | Indoor Water Use: Wall-mounted urinals (0.125gpf) | 5.303.3.2.1 | [11 empty] | 71 | Mandatory | Exterior noise transmission, prescriptive method | 5.507.4.1
15 | Mandatory | Indoor Water Use: Floor-mounted urinals ( 0.5 gpf) | 5.303.3.2 |  |  |  | □ |  |  |  | □ |  | □ |  | 72 | Mandatory | Exterior noise transmission, performance method | 5.507.4.2 |  |  |  | □
16 | Mandatory | Indoor Water Use: Single showerhead ( 1.8 gpm at 80 psi) | 5.303.3.3.1 |  |  |  | □ |  |  |  | □ |  | □ |  | 73 | Mandatory | Interior sound transmission | 5.507.4.3 |  |  |  | □
17 | Mandatory | Indoor Water Use: Multiple showerheads serving one shower ( flow rate of 1.8 gpm at 80 psi) | 5.303.3.3.2 |  |  |  | □ |  |  |  | □ |  | □ |  | 74 | Mandatory | Ozone depletion and greenhouse gas reductions | 5.508.1 | [11 empty] | In order to schedule a final building inspection with the Building Department, follow the procedures below.
18 | Mandatory | Indoor Water Use: Nonresidential lavatory faucets (0.5 gpm at 60 psi) | 5.303.3.4.1 | [11 empty] | 75 | Mandatory | Chlorofluorocarbons | 5.508.1.1 |  |  |  | □ |  |  |  | □
19 | Mandatory | Indoor Water Use: Kitchen faucets (1.8 gpm at 60 psi) | 5.303.3.4.2 | [11 empty] | 76 | Mandatory | Halons | 5.508.1.2 |  |  |  | □ |  |  |  | □ |  | □
20 | Mandatory | Indoor Water Use: Wash fountains (1.8 gpm at 60 psi) | 5.303.3.4.3 | [11 empty] | 77 | Mandatory | Supermarket refrigerant leak reduction | 5.508.2 |  |  |  | □
21 | Mandatory | Indoor Water Use: Metering faucets (0.2 gallons/ cycle) | 5.303.3.4.4 | [11 empty] | 78 | Mandatory | Refrigerant piping | 5.508.2.1 |  |  |  | □
22 | Mandatory | Indoor Water Use: Metering faucets for wash fountains (0.2 gallons/ cycle) | 5.303.3.4.5 | [11 empty] | 79 | Mandatory | Refrigerant piping valves | 5.508.2.2 |  |  |  | □ | [9 empty] | Schedule a two-part Final Green Building Inspection with the City Green Building Personnel in accordance with the Palo Alto Non-Residential Green Building Inspection Guideline.
23 | Mandatory | Commercial kitchen equipment | 5.303.4 | [11 empty] | 80 | Mandatory | Refrigerant piping access valves | 5.508.2.2.2 |  |  |  | □
24 | Mandatory | Food Waste Disposers | 5.303.4.1 | [11 empty] | 81 | Mandatory | Refrigerated service case | 5.508.2.3 |  |  |  | □
25 | Mandatory | Indoor Water Use: Areas of additions or alteration | 5.303.5 |  |  |  | □ |  |  |  | □ |  | □ |  | 82 | Mandatory | Refrigerant receivers | 5.508.2.4 |  |  |  | □ | [9 empty] | At Part 1 of the Final Green Building Inspection prepare all submittals and supporting documentation for the items identified with an "X" under the "Y" column of this sheet in accordance with the Green Building Inspection Guideline.
26 | Mandatory | Indoor Water Use: Standards for plumbing fixtures and fittings (2016 Cal Plumbing Code) | 5.303.6 |  |  |  | □ |  |  |  | □ |  | □ |  | 83 | Mandatory | Pressure testing | 5.508.2.5 |  |  |  | □
27 | Mandatory | Outdoor Water Use : Landscape areas ≥ 500 SF | Title 23, Chapter 2.7/ 5.304.1 |  |  |  | □ |  |  |  | □ |  | □ |  | 84 | Mandatory | Evacuation (after pressure testing) | 5.508.2.6 |  |  |  | □
28 | Mandatory | Outdoor Water Use : Rehabilitated landscape projects ≥ 2,500 SF | Title 23, Chapter 2.7/ 5.304.3 |  |  |  | □ |  |  |  | □ |  | □
29 | Mandatory | Outdoor Water Use: Landscape areas of ≤ 2,500 SF | 5.304.4 |  |  |  | □ |  |  |  | □ |  | □ | [18 empty] | At Part 2 of the Final Green Building Inspection prepare for a field inspection for the items identified with an "X" under the "Y" column of this sheet in accordance with the Green Building Inspection Guideline.
30 | Mandatory | Outdoor Water Use: Graywater or Rainwater Use: Landscape areas ≤ 2,500 SF | 5.304.5 |  |  |  | □ |  |  |  | □ |  | □ |  |  | Legend:
31 | Mandatory | Potable water elimination | PAMC 16.14.350/ 5.304.5 | [12 empty] | Y - | Yes; the measure is selected as mandatory
32 | Mandatory | New construction; recycled water use for irrigation (See recycled water ordinance # 5002, of PAMC 16.12) | PAMC 16.12.030 | [12 empty] | N - | No; the measure is not selected as an elective
33 | Mandatory | Invasive species prohibited | 5.304.6 |  |  |  | □ |  |  |  | □ |  | □ |  |  | [N] - | New Construction | [12 empty] | I certify that:
34 | Mandatory | Non-residential enhanced water budget | PAMC 16.14.365/ 5.305.1 |  |  |  | □ |  |  |  | □ |  | □ | [24 empty] | Project Address:
5.4 Material Conservation and Resource Efficiency | [15 empty] | Instructions: | [15 empty] | There have been no alterations that have impacted the energy report for the project, unless the new report is provided.
35 | Mandatory | Weather protection | 5.407.1 |  |  |  | □ |  | See Foundation Inspection checklist.
36 | Mandatory | Moisture control: Sprinklers | 5.407.2.1 |  |  |  | □ | [5 empty] | □ | [18 empty] | All mandatory CALGreen measures and required electives noted in the checklist have been implemented, unless a new checklist is provided along with support for alternative electives claimed.
37 | Mandatory | Moisture control: Exterior door protection | 5.407.2.2.1 |  |  |  | □ | [5 empty] | □
38 | Mandatory | Moisture control: Flashing | 5.407.2.2.2 |  |  |  | □ | [5 empty] | □
39 | Mandatory | Construction waste management | 5.408.1 |  |  |  | □
40 | Mandatory | Construction waste management plan | 5.408.1.1 |  |  |  | □ | [24 empty] | Within six months (6) from the date of final inspection I will provide the City with the project's Commissioning Report (only required for new projects over 10,000 SF) and execute compliance with landscaping measures, unless completed at the time of final inspection.
41 | Mandatory | Waste management company | 5.408.1.2 |  |  |  | □
42 | Mandatory | Waste stream reduction alternative | 5.408.1.3 |  |  |  | □
43 | Mandatory | Documentation: Construction waste management plan, waste management company, waste stream reduction alternative | 5.408.1.4 |  |  |  | □
44 | Mandatory | Universal waste (additions or alterations only) | 5.408.2
45 | Mandatory | Excavated soil and land clearing debris (100% reuse or recycle) | 5.408.3 |  |  |  | □
46 | Mandatory | Enhanced construction waste reduction (80% diversion rate for projects ≥ $25,000) | PAMC 16.14.370/ A5.408.3.1.1 |  |  |  | See www.greenhalosystems.com
47 | Mandatory | Recycling by occupants | 5.410.1 |  |  |  | □ | [22 empty] | Signature (Owner) |  |  |  | Signature (Contractor)
48 | Mandatory | Recycling by occupants: Additions | 5.410.1.1 | [29 empty] | Sign only after construction is completed.
49 | Mandatory | Testing and adjusting for [N] buildings < 10,000 SF or new systems that serve additions or alterations [AA] | 5.410.4 |  |  |  | □ |  |  |  | □
50 | Mandatory | Testing and adjusting for systems: HVAC, lighting, water heating, renewable energy, landscape irrigation, and water reuse | 5.410.4.2 |  |  |  | □ |  |  |  | □
51 | Mandatory | Testing and adjusting: Procedures | 5.410.4.3 |  |  |  | □ |  |  |  | □ | [18 empty] | Print Name |  |  |  | Print Name
52 | Mandatory | Testing and adjusting: HVAC balancing | 5.410.4.3.1 |  |  |  | □ |  |  |  | □
53 | Mandatory | Testing, adjusting and balancing: Reporting for HVAC balancing | 5.410.4.4 |  |  |  | □ |  |  |  | □
54 | Mandatory | Operation and maintenance (O&M) manual | 5.410.4.5 |  |  |  | □ |  |  |  | □ | [18 empty] | Date |  |  |  | Date
55 | Mandatory | Inspection and reports [AA] + [N] < 10,000 SF | 5.410.4.5.1 |  |  |  | □ |  |  |  | □
56 | Mandatory | Performance reviews- Water (sites > 1 acre) | PAMC 16.14.400/ 5.410.4.8 |  |  |  | □ |  | □
GB-1
2016 NONRESIDENTIAL GREEN BUILDING APPLICATION CALGREEN MANDATORY
[11 empty] | Title 24, Part 11, California Green Building Code (CALGreen) |  | http://www.bsc.ca.gov/Home/CALGreen.aspx |  |  |  |  | Application: This sheet shall be used for nonresidential projects that meet one of the following AND does not trigger Tier 1 or Tier 2 requirements: 1) Tenant improvements, renovations or alterations less than 5,000 SF with a permit value of $200,000 or more. | [16 empty] | Version 07/18
[11 empty] | City of Palo Alto Green Building Ordinance 5393 (PAMC 16.14 Amendments) |  | https://www.cityofpaloalto.org/civicax/filebank/documents/54976
[11 empty] | City of Palo Alto Development Center Green Building Requirements |  | http://www.cityofpaloalto.org/gov/depts/ds/green_building/default.asp | [24 empty] | MANDATORY
[11 empty] | Updated Model Water Efficient Landscape Ordinance- Effective February 1, 2016 |  | http://www.water.ca.gov/wateruseefficiency/landscapeordinance/docs/Title%2023%20extract%20-%20Official%20CCR%20pages.pdf
The Green Building Survey is a required project submittal. The survey can be found at the following link. The survey shall be completed on Survey Monkey and a screenshot shall be included on a separate page in this plan set. Please indicate the reference page here _____________________.
The Energy Star Benchmark Portfolio profile is a required project submittal. The profile can be found at the following link. The portfolio profile shall be opened and a screenshot shall be included on a separate page in this plan set. Please indicate the reference page here ______________________.