## Tier 2 GB-1
Project Address: RESIDENTIAL CHECKLIST - CALGREEN + TIER 2
[8 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [15 empty] | Plan Sheet, Spec or Attachment Reference | Compliance Path Verification | [7 empty] | Acknowledgement
[9 empty] | Plan Check |  | Rough GB Inspection IVR # 112 |  | Final Inspection IVR # 974 | [12 empty] | Plan Check |  | Rough GB Inspection IVR # 112 |  | Final Inspection IVR # 974
[13 empty] | Part 1 | Part 1 | Part 2 | Part 2 | [13 empty] | Part 1 | Part 1 | Part 2 | Part 2 | This project is required to comply with the State California Green Building Code (T24 Part 11) and the City of Palo Alto's local amendments (PAMC 16.14). I, the property owner / legal representative, acknowledge and understand the requirements and penalties for noncompliance ($50 per ton of waste not diverted from the landfill with a minimum of $1000, and $500 a day for noncompliance with the remaining green building measures). I am responsible for all activities performed by design team members, contractors and subcontractors in meeting the requirements. Note: In lieu of a signature, an attachment letter is acceptable if the owner is not local and cannot sign this GB-1 sheet.
4.1 Planning and Design |  |  |  | Code Section | Y | O | N |  | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | 4.5 Environmental Quality |  |  |  | Code Section | Y | O | N |  | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL | CORR | INITIAL
Mandatory | 1 | Mandatory | Storm water drainage and retention during construction (less than one acre) | 4.106.2 |  |  |  |  | □ | [7 empty] | Mandatory | 67 | Mandatory | Fireplaces | 4.503.1 |  |  |  |  | □
| 2 | Tier 2 Mand. | Topsoil protection- Tier 2 levels | A4.106.2.3 |  |  |  |  | □ | [8 empty] | 68 | Mandatory | Covering of duct openings, protection of mechanical equipment during construction | 4.504.1 |  |  |  |  | □
| 3 | Mandatory | Grading and paving | 4.106.3 |  |  |  |  | □ | [8 empty] | 69 | Mandatory | Adhesives, sealants and caulks - Table 4.504.1 or 4.504.2 | 4.504.2.1 |  |  |  |  | □
| 4 | Tier 2 Mand. | Water permeable surfaces for 30% | A4.106.4 |  |  |  |  | □ | [8 empty] | 70 | Mandatory | Paints and coatings - Table 4.504.3 | 4.504.2.2 |  |  |  |  | □
| 5 | Tier 2 Mand. | Cool roof for reduction of heat island effect -Tier 2 requirements | PAMC 16.17.050/ A4.106.5 |  |  |  |  | □ | [8 empty] | 71 | Mandatory | Aerosol paints and coatings | 4.504.2.3 |  |  |  |  | □
| 4 | Tier 2 Mand. | Electric vehicle (EV) charging for new construction (Locally amended) | PAMC 16.14.150/ 4.106.8 |  |  |  |  | □ | [8 empty] | 72 | Mandatory | Carpet systems | 4.504.3 |  |  |  |  | □
| 6 | Mandatory | Bicycle Parking | PAMC 16.14.160/ A4.106.9 | [13 empty] | 73 | Mandatory | Carpet cushion | 4.504.3.1 |  |  |  |  | □
Electives (choose 4) | 7 | Elective | Site selection | A4.103.1 |  |  |  |  | □ | [8 empty] | 74 | Mandatory | Carpet adhesive | 4.504.3.2 |  |  |  |  | □
| 8 | Elective | Community connectivity | A4.103.2 |  |  |  |  | □ | [8 empty] | 75 | Tier 2 Mand. | Resilient flooring systems for 100% | A4.504.2 |  |  |  |  | □
| 9 | Elective | Supervision and education by a Special Inspector (Locally amended) | PAMC 16.14.120/ A4.104.1 |  |  |  |  | □ | [8 empty] | 76 | Mandatory | Composite wood products | 4.504.5 |  |  |  |  | □
| 10 | Elective | General- Deconstruction | PAMC 16.14.130/ A4.105.2 |  |  |  |  | □ | [8 empty] | 77 | Mandatory | Concrete slab foundations | 4.505.2 |  |  |  |  | □
| 11 | Elective | Reuse of existing materials (Locally amended) | A4.106.2.1 | [13 empty] | 78 | Mandatory | Capillary break | 4.505.2.1 |  |  |  |  | □
| 12 | Elective | Soil analysis | A4.106.2.1 |  |  |  |  | □ | [8 empty] | 79 | Mandatory | Moisture content of building materials | 4.505.3 |  |  |  |  | □
| 13 | Elective | Soil protection | A4.106.2.2 |  |  |  |  | □ | [8 empty] | 80 | Mandatory | Bathroom exhaust fans | 4.506.1 |  |  |  |  | □
| 14 | Elective | Landscape design (Locally amended) | PAMC 16.14.140/A4.106.3 |  |  |  |  | □ | [8 empty] | 81 | Mandatory | Heating and air conditioning system design | 4.507.2 |  |  |  |  | □ | [7 empty] | Signature |  |  | Date
| 15 | Elective | Vegetated roof | A4.106.6 |  |  |  |  | □ | [7 empty] | Electives- ( 1 ) | 82 | Elective | Compliance with formaldehyde limits | A4.504.1
| 16 | Elective | Reduction of heat island effect for nonroof areas | A4.106.7 |  |  |  |  | □ | [8 empty] | 83 | Elective | Thermal insulation | A4.504.3 |  |  |  |  | □
| 17 | Elective | Light pollution reduction | PAMC 16.14.170/ A4.106.10 |  |  |  |  | □ | [8 empty] | 84 | Elective | Filters | A4.506.1 |  |  |  |  | □
| 18 | Elective | Innovative concepts and local environmental conditions | A4.108.1 |  |  |  |  | □ | [8 empty] | 85 | Elective | Construction filters [HR- High Rise] | A4.506.2 | [12 empty] | Print Full Name
PAMC 16.17 Energy Reach Code | [17 empty] | 86 | Elective | Direct-vent appliances | A4.506.3 |  |  |  |  | □
Mand. | 19 | Mandatory | Title 24 Energy Code + 15% Energy Reach Code: Demonstrate that the TDV Energy of the proposed design exceeds the TDV Energy of the Standard design by 15% or more for new single- family and multi-family. | PAMC 16.17.050 |  |  |  |  | □ | [8 empty] | 87 | Elective | Innovative concepts and local environmental conditions. | A4.509.1 |  |  |  |  | □
Phone or Email
| 20 | Mandatory | Solar Ready requirements: For all new construction single family homes, locate a dedicated solar zone no less than 500 SF with installed electrical conduit (some exception in apply)” | PAMC 16.17.050 |  |  |  |  | □
4.3 Water Efficiency and Conservation | [33 empty] | Special Inspector Acknowledgement
Mandatory | 21 | Mandatory | Water closets | 4.303.1.1 |  |  |  |  | □
| 22 | Mandatory | Urinals | 4.303.1.2 |  |  |  |  | □
| 23 | Mandatory | Single showerhead | 4.303.1.3.1 |  |  |  |  | □ | [9 empty] | Legend:
| 24 | Mandatory | Multiple showerheads serving one shower | 4.303.1.3.2 |  |  |  |  | □ | [9 empty] | Y - | Yes; the measure is selected as an elective | [13 empty] | The project will be verified by a GREEN BUILDING SPECIAL INSPECTOR
| 25 | Mandatory | Residential lavatory faucets | 4.303.1.4.1 |  |  |  |  | □ | [9 empty] | O - | Out of scope; the measure is not included in the project's scope of work
| 26 | Mandatory | [Multi-family Only] Lavatory faucets in common and public use areas | 4.303.1.4.2 |  |  |  |  | □ | [9 empty] | N - | No; the measure is not selected as an elective
| 27 | Mandatory | Metering faucets | 4.303.1.4.3 |  |  |  |  | □
| 28 | Mandatory | Kitchen faucets (1.8 gpm at 60 psi) | 4.303.1.4.4 |  |  |  |  | □ | [24 empty] | I have reviewed the project plans and specifications, and they are in conformance with the CALGreen mandatory and elective measures claimed. I have reviewed and understand the after construction requirements below.
| 29 | Mandatory | Standards for plumbing fixtures and fittings (Meet 2013 Plubing Code) | 4.303.2 |  |  |  |  | □
| 30 | Mandatory | Irrigation controllers (locally amended) | PAMC 16.14.200/ 4.304.1 |  |  |  |  | □
| 31 | Tier 2 Mand. | Irrigation Water budget (when landscaping is included in the scope) (See updated MWELO) | A4.304.3 Title 23, Chapter 2.7 |  |  |  |  | □
| 32 | Tier 2 Mand. | Potable water reduction- Tier 2 levels (when landscaping is included in the scope) "Meeting MWELO achieves requirement" | PAMC 16.14.210/ A4.304.4 Title 23, Chapter 2.7 |  |  |  |  | □
| 33 | Tier 2 Mand. | Irrigation metering device (when landscaping is included in the scope) | PAMC 16.14.220/ A4.304.6 |  |  |  |  | □
| 34 | Tier 2 Mand. | Diverter value at laundry fixtures | PAMC 16.14.230/ A4.305.5 |  |  |  |  | □
Electives (choose 3) | 35 | Elective | Kitchen faucets (1.5 gpm at 60 psi) | A4.303.1 |  |  |  |  | □
| 36 | Elective | Alternate water sources for nonpotable applications | A4.303.2 |  |  |  |  | □
| 37 | Elective | Appliances | A4.303.3 |  |  |  |  | □
| 38 | Elective | Nonwater supplied urinals and waterless toilets | A4.303.4 |  |  |  |  | □ | [24 empty] | Signature |  |  | Date
| 39 | Elective | Low-water consumption irrigation system | PAMC 16.14.200/ A4.304.1 |  |  |  |  | □
| 40 | Elective | Rainwater catchment systems | A4.304.2 |  |  |  |  | □
| 41 | Elective | Potable water elimination | A4.304.5 |  |  |  |  | □
| 42 | Elective | Greywater (locally amended) | PAMC 16.14.230/ A4.305.1 |  |  |  |  | □ | [24 empty] | Print Full Name
| 43 | Elective | Recycled water piping (Locally amended) | PAMC 16.14.230/ A4.305.2 |  |  |  |  | □
| 44 | Elective | Recycled water for landscape irrigation | PAMC 16.14.230/ A4.305.3 |  |  |  |  | □
| 45 | Elective | Innovative concepts and local environmental conditions | A4.306.1 |  |  |  |  | □ | [24 empty] | Phone or Email
4.4 Material Conservation and Resource Efficiency
Mandatory | 46 | Mandatory | Rodent proofing | 4.406.1 |  |  |  |  | □ | [24 empty] | SECTION TO BE COMPLETED AFTER CONSTRUCTION
| 47 | Mandatory | Enhanced construction waste reduction- 75% Diversion (Locally amended if project valuation conditions are met) | PAMC 16.14.260/ 4.408.1 |  |  |  |  | □
| 48 | Mandatory | Construction waste management plan in Green Halo | 4.408.2 |  |  |  |  | □
| 49 | Mandatory | Waste management company | 4.408.3 |  |  |  |  | □
| 50 | Mandatory | Operation and maintenance manual | 4.410.1 |  |  |  |  | □
| 51 | Tier 2 Mand. | Recycled content - 15% | A4.405.3.1 |  |  |  |  | □
Electives (choose 4) | 52 | Elective | Reduction in cement use - 25% | A4.403.2 |  |  |  |  | □
| 53 | Elective | Efficient framing techniques - Lumber size | A4.404.1 |  |  |  |  | □ | [24 empty] | After construction is complete submit the following at the City Development Center to schedule your final inspection:
| 54 | Elective | Efficient framing techniques - Minimize waste | A4.404.2 |  |  |  |  | □
| 55 | Elective | Efficient framing techniques - Building systems | A4.404.3 |  |  |  |  | □ | [25 empty] | Construction debris receipts from an approved facility using Green Halo.
| 56 | Elective | Efficient framing techniques - Pre-cut materials and details | A4.404.4 |  |  |  |  | □
| 57 | Elective | Prefinished building materials | A4.405.1 |  |  |  |  | □ | [25 empty] | If HERS testing was required per the homes energy report, attach the completed forms.
| 58 | Elective | Concrete floors | A4.405.2 |  |  |  |  | □
| 59 | Elective | Use of building materials from rapidly renewable sources | A4.405.4 |  |  |  |  | □
| 60 | Elective | Drainage around foundations | A4.407.1 |  |  |  |  | □ | [25 empty] | If there were alterations during construction that impacted the energy report (i.e. R values, U factors, Equipment Types) rerun the report and attach it.
| 61 | Elective | Roof drainage | A4.407.2 |  |  |  |  | □
| 62 | Elective | Flashing details | A4.407.3 |  |  |  |  | □
| 63 | Elective | Material protection | A4.407.4 |  |  |  |  | □ | [24 empty] | I certify that:
| 64 | Elective | Door protection | A4.407.6 |  |  |  |  | □
| 65 | Elective | Roof overhangs | A4.407.7 |  |  |  |  | □ | [25 empty] | CALGreen inspections were performed throughout construction.
| 66 | Elective | Innovative concepts and local environmental conditions | A4.411.1 |  |  |  |  | □
The home has met the CALGreen measures as claimed on this sheet. Those required for landscaping may be excluded from this confirmation if verified within 6 months of final inspection.
Through a combination of onsite inspections and confirmation from the Contractor there have been no alterations that impacted the energy report for the home, unless the new report is provided as an attachment.
Signature (Green Building Special Inspector)
Sign only after construction is completed.
Print Name
Date
GB-1
RESIDENTIAL GREEN BUILDING APPLICATION CALGREEN + TIER 2
[16 empty] | Title 24, Part 11, California Green Building Code (CALGreen) | http://www.bsc.ca.gov/Home/CALGreen.aspx | [19 empty] | Version 11/16
[16 empty] | City of Palo Alto Green Building Program and Resources | http://www.cityofpaloalto.org/gov/depts/ds/green_building/compliance.asp | [11 empty] | Application: This plan sheet is for use by residential new construction over 1,000 SF.
TIER 2
Please insert the Green Building Survey here.